Downloading files from LI6400

Oikawa

1. Turn on Licor
2. Ultility menu
3. Comm port configuration
   1. Edit settings so LTerm is “on” and Incoming comm: “Prompts and Remarks”
   2. Press OK
4. File exchange mode
5. Turn on white field computer
6. Open LI6400XTerm
7. Select RS232—press connect
8. Press file button on top menu bar
9. Wait for files to load under User for LI6400 files (this takes a second as there are a lot of files saved under User)
10. Drag and drop files into LI6400 folder on desktop
11. Exit file exchange mode and reset comm port configuration to original settings (LTerm: off; Incoming comm: Ignore)